## Cover Sheet
Author: Ron Charest Date: September 14, 2022 Email: rcharest@yahoo.com Title: Prince William County Datacenter Supportability Analysis Version: 2
Licensed under Creative Commons (BY SA). Licensees may copy, distribute, display and perform the work and make derivative works and remixes based on it only if they give the author or licensor the credits (attribution) in the manner specified by these, and only under a license identical to the license that governs the original work.
These working notes support my supportabiliy analysis of power and water demands for the proposed Prince William County Datacenter project, Prince William County, Virginia.
https://charest.net/2022/02/07/back-in-the-trenches-a-new-lte/
Version 2: Updated the figures September 14, 2022, based on new information on the proposed scale of the data center. The scale showed dramtic increase in size over my initial study.

## Worksheet
Prince William County Data Center Supportabily
Power Requirements [1]
| Watts Per Square meters | Watts Per Square Feet
Computer power density Power drawn by the computer equipment (in watts) divided by the computer room floor area | 169 W/m2 | 16 W/ft2
Building power density Total power drawn by the building (in watts) divided by the total floor area of the building | 118 W/m2 | 11 W/ft2
Total computer room Power drawn by the computer equipment and all of the supporting power density equipment such as PDUs, UPSs, HVAC and lights (in watts) divided by the computer room floor area (in square meters or square feet) | 355 W/m2 | 33 W/ft2
Planned Size of Data Center Project [2] | 27.6 million square feet (ft2)
Power Demands in Watts |  | 910800000 | watts of power required to support the datacenter
- 33 watts per square foot * 27.6 million square feet.
Cooling Requirements
| Power Requirement in KW | Cooling Water Consumption (gallons
Rule: "An average data center uses 0.48 gallons of water for cooling for every kWh it consumes." [3] | 132000 | 1520640
Rule: "A 15 megawatt data center can require up to 360,000 gallons of water a day" | 132MW Power Demand | 21859200 | gallons of water per day cooling requirement

## References
Size of Propsed Data Center
Inside NOVA article published September 9, 2022
https://www.insidenova.com/headlines/devlin-data-center-hearing-delayed-in-prince-william-digital-gateway-session-set-for-tonight/article_2e6db8a4-345c-11ed-9e14-1b732b3ad49b.html
Power Requirements
Data Center Power Costs and Requirements
https://www.datacenters.com/news/data-center-power-costs-and-requirements
Data center power requirements: measurements from Silicon Valley
https://datacenters.lbl.gov/sites/default/files/Data%20Center%20Power%20Requirements_2001.pdf
- Peer Reviewed Study
Data center checklist for IT power infrastructure design and setup
https://www.computerweekly.com/tip/Data-center-checklist-for-IT-power-infrastructure-design-and-setup
- "another popular school of thought is Moore’s Law, which states that the compute capability of a processor doubles every 18 months. Correspondingly, a data center’s power requirements tend to double every 18 months."
http://www.pwconserve.org/maps/DataCenterOverlay_AdditionalArea_85x11-1.pdf
- Data Center Overlay
STACK INFRASTRUCTURE and Peterson Companies Announce Development of 125-acre Hyperscale Data Center Campus in Prince William County, VA
https://www.financialbuzz.com/stack-infrastructure-and-peterson-companies-announce-development-of-125-acre-hyperscale-data-center-campus-in-prince-william-county-va/
- "partner with STACK to bring this 125-acre, 4 million plus square foot data center campus online,”
List of power stations in Virginia
https://en.wikipedia.org/wiki/List_of_power_stations_in_Virginia
- 132 Megawats is moderate-sized power plant.
Calculating Total Cooling Requirements for Data Centers, White Paper 25
https://download.schneider-electric.com/files?p_File_Name=NRAN-5TE6HE_R4_EN.pdf&p_Doc_Ref=SPD_NRAN-5TE6HE_EN&p_enDocType=White+Paper&CFID=88269011&CFTOKEN=6addaaf1c037939-C241C1E7-F67A-690E-E7F1BC987323371E
Data Centers, Digital Lifestyles and Water Use
https://www.watercalculator.org/footprint/data-centers-water-use/
- "an average data center uses 0.48 gallons of water for cooling for every kWh it consumes."
- "in 2009 Amazon estimated that a 15 megawatt data center can require up to 360,000 gallons of water a day"
Why data centers fail to bring new jobs to small towns
https://www.techrepublic.com/article/why-data-centers-fail-to-bring-new-jobs-to-small-towns/
- "While typical company headquarters can have between 200 and 1,000 jobs on site, the number of jobs at an average data center is usually capped at 30, according to a 2014 report from CBRE."
The Mystery Impact of Data Centers on Local Economies Revealed
https://www.areadevelopment.com/data-centers/Data-Centers-Q1-2015/impact-of-data-center-development-locally-2262766.shtml
- "Report referenced in "Why data centers fail to bring new jobs to small towns"
The Economics of Data Center Staffing
https://www.datacenterknowledge.com/archives/2008/01/18/the-economics-of-data-center-staffing